Servo Apparatus

Bill of Materials

To Construct One Unit:

One Required:

| 1971A58 | Aluminum Rule Metric Grads, 200 CM Length, 2" Width, 1/8" Thick | $16.25 |
| --- | --- | --- |

One Required:

| 47065T122 | Fractional T-Slotted Framing System 1" X 1" Square Extrusion, 6' Length | $20.70 |
| --- | --- | --- |

Three Required:

| 1556A17 | Steel Corner Brace Zinc-Plated, 4" Length Of Sides, 7/8" Width | $1.26 |
| --- | --- | --- |

Eight Required (Must be purchased in packages of 15)

| 47065T142 | Fractional T-Slotted Framing System Steel T-Nut W/Cap Screw for 1" SQ & 1" X 2" Extrusion, Packs of 15 | $9.16 |
| --- | --- | --- |

Two Required (Must be purchased in packages of 100)

| 91255A540 | Alloy Steel Button Head Socket Cap Screw 1/4"-20 Thread, 3/4" Length, Packs of 100 | $13.91 |
| --- | --- | --- |

Eight Required (Must be purchased in packages of 100)

| 91255A539 | Alloy Steel Button Head Socket Cap Screw 1/4"-20 Thread, 5/8" Length, Packs of 100 | $13.32 |
| --- | --- | --- |

Eight Required (Must be purchased in packages of 25:

| 98029A029 | Black-Oxide Steel Thick Flat Washer 1/4" Screw Sz, 9/32" Id, 5/8" Od, .110" - .135" Thk, Packs of 25 |
| --- | --- |

Two Required (Must be purchased in packages of 50):

| 95479A111 | Grade 5 Black Oxide Steel Hex Nut 1/4"-20 Screw Size, 7/16" Width, 7/32" Height, Packs of 50 | $8.13 |
| --- | --- | --- |

One Required:

| 5038A2 | Light-Force Iron C-Clamp Deep Pattern, 1-1/2" Max-0" Min Open, 300# Hold Cap | $7.01 |
| --- | --- | --- |

One Required:

5133A13

Light-Force Iron C-Clamp Reg Pattern, 2" Max-0" Min Open, 400# Holding Cap In stock at $2.06 Each

One Required:

| Futaba S3003 Servo Standard | Manufacturer Stock# S3003 Special Stock# LXH288 Tower's Low Price 10.99 Stock Status In Stock |
| --- | --- |

One Required:  Custom Spool

Neoprene Rubber Sheet for Contact Surfaces of Mounting Brackets:

| 8525T31 | 1/16" Thick, 12" X 12", Neoprene Rubber Sheet Gasket | $3.52 |
| --- | --- | --- |