The Construction and Operation of an Inexpensive Cavendish Balance Experiment for High School Demonstration of Gravitational Force.

Timothy W. Hughes Jr., Physics Department, State University of New York – Buffalo State College 1300 Elmwood Avenue, Buffalo, New York 14222 <thughes@williamsvillek12.org>

Abstract:  The Cavendish balance is an appropriate tool that can be used to provide tangible evidence of gravitational force between two ordinary room-scale objects.  Here I review appropriate literature regarding high school design, operation, construction and, quantitative measurements of G with an inexpensive Cavendish balance.  Characteristic problems and possible solutions for this type of apparatus are also discussed.

Acknowledgements: This paper addresses requirements for PHY690: Masters’ project at SUNY-Buffalo State College under the guidance of Dr. Dan MacIsaac.  I acknowledge the significant assistance of Mr. Timothy O’Mara.

Introduction:  Before Henry Cavendish performed his powerful experiment in 1798, the apparatus he used was simply called a torsion balance (Clotfelter, 1987).  The torsion pendulum was invented in 1777 by a French physicist named Charles-Augustin de Coulomb (McCormmach & Jungnickel, 1996).  Coulomb’s intentions for his famous experiment were to measure the electrostatic forces between small objects (ibid.).  Though the torsion balance had quite a different function from describing gravitational forces, Coulomb’s studies laid the ground work in analyzing the data taken from it, regardless of the force being measured (ibid.).

Some years later, in 1973, the geologist John Mitchell independently invented the torsion balance with the intention of measuring the density of Earth (Thorpe, 1921).  Not much was known about the solar system at that time, but it was clear that if the mass and density of the earth was known, it would be possible to calculate the rest of the bodies in the system as well (Clotfelter, 1987). Mitchell’s idea was: if one could measure the force between two ordinary objects of known mass and size, and compare it with the force of gravity between one of the masses and Earth, a proportion could be used to solve for the unknown mass and density (Thorpe, 1921).  Mitchell never lived to see his work completed and eventually the apparatus was passed down to Henry Cavendish who used Mitchell’s experiment to measure the density of the earth (Thorpe, 1921).  It has since been found that this experiment is a very reliable way to calculate an important constant in nature, the gravitational constant, G.  Cavendish never made any mention of a gravitational constant in his reports on the torsion balance (Clotfelter, 1987).

Nevertheless, the Cavendish experiment is a reliable way to measure the gravitational constant and is described in many textbooks. In most high school classrooms it may seem time consuming to challenge students to confirm the value of G through experimentation.  However, the simple demonstration of gravitational attraction can be accomplished with a fair amount of effort and within a class period.  Moreover, the experiment can be done affordably and with items available at most hardware stores for approximately 100 dollars or less.

Textbooks commonly cite that all objects that have mass are attracted to one another by a gravitational force (Knight, 1997).  This may be hard for students to believe because the force is too small for ordinary sized objects so that it is never noticed.  The only gravitational force most students recognize is the one between an object and the Earth.  A torsion balance is a piece of equipment that makes this force not only measurable, but also visually apparent.

Torsion is the twisting of something due to an applied torque (Knight, 1997). A torque is a force applied about an axis perpendicular to its displacement from it, or simply a twisting force (ibid.).  A thread, wire, or any other long flexible object, if it is twisted, will elastically oppose this twisting force to restore its original shape.  Increasingly twisting a spring will increase the apposing elastic force directly.

A torsion springs strength depends on several factors, one of which is length.  The longer the spring, the weaker its torsional constant will become. If we use a torsion spring to demonstrate the gravitational forces between two small objects, we want the spring to be very weak thus making it very sensitive to extremely small forces.  The mass must be offset from the axis of rotation for there to be any torque.  Since a string is not rigid, we cannot expect to put a bend in the string at a right angle to achieve this. The mass can be offset from the axis of rotation if it is “balanced” by an object with an identical mass and separated with a rigid object.  The string is attached to the rigid object in the center and the masses balance on either end.  Now the string can be twisted by an attractive force on one or both of the two objects.

Insert Figure 1: Torsion Balance Diagram

Parts List:

1.	1 - 2m length of string ($2.00)

2.  	1 - wooden meter stick

3.	2 - 20oz. Soda bottles ($2.00)

4.	2.5gallons of water

5.	3 - 2gallon buckets ($6.00)

6.	1 – 20lb. bag of play sand ($8.00)

7.	1 - adjustable swivel stool (optional)

8.	1 - 30cm x 15cm piece of 1/8inch plexi-glass ($5.00)

9.	1 - 1in square mirror

10.	1 - laser pen (preferably green for visibility) ($10.00)

11.	1 - stand for laser

12.	1 - blank video tape ($1.00)

13.	2 - large binder clips

14.	1 - roll of scotch tape

15.	1 - bottle of wood glue (2.00)

16.	1 – large 6in C-clamp

17.	1 - turn table (optional)

18.	1 - 4ftx 1ft x 1inch wooden boards ($10.00)

19.	6 - 1ft x 1ft x 1inch wooden boards ($5.00)

20.	1 - white shower board cut to 3ft x 2ft ($5.00)

21.	1 - temporary wall partition (optional)

22.	4 - blocks of wood cut to 2in x 3in x 1in (scrap)

23.	1 - pen

24 	1 - clock

25.	1 - ring stand

Constructing the Balance:  Two lengths of VHS tape were cut that were long enough to extend from the ceiling support to about chest level.  The tapes acted as the torsion medium, or the spring, for the balance.  The tapes were sandwiched between two small blocks of wood at each end, and were glued and clamped.  A place on the ceiling was found that was sturdy enough to affix one end of the tape and block assembly and support two pounds.  Then, a hole was drilled in a meter stick at the 30cm and 70cm mark, in order to tie the string through it and keep it from sliding.

Insert Figure 2: Balance Hanger

Insert Figure 3: Balance Hanger Diagram

The string was cut to a length of roughly twice distance between the two holes.  By placing a pen between the hanging VHS tapes, this made a convenient place to hang the string, to which the meter stick was attached. A small square mirror was glued on the 50cm mark of the meter stick. Two 20oz. soda bottles filled with water were hung from either end of the meter stick in a manner in which they balanced.  The bottles functioned as the small masses in the experiment.

The Motion Damper and Stand for the Stationary Masses: A 4ft board was balanced on top of the stool.  This allowed smooth and easy movement of the large masses, as they were set on top.  A turntable and a two-gallon bucket were set on top of the board and stool and were clamped together for safety.  A ring stand was set up next to the center bucket and clamped to the turn table to ensure that the bucket did not move.

Insert Figure 4: Large Mass Assembly

Careful consideration was taken when placing the stand to avoid getting in the way when swiveling the large masses. In order to keep the torsion balance symmetrical, three square wooden boards were placed flat at each end to raise the two buckets that were set at each end.  Then, the whole assembly was slid underneath the hanging balance and adjusted to the height of the stool, so that the center bucket was just under the 50cm mark of the meter stick.  Water filled the center bucket the end buckets were filled with sand.  It was important to fill the sand buckets while they were off of the boards and have some help to place them back on at the same time in order to avoid spilling.  Finally, the plexi-glass was attached to the center of the balance to act as the vane in the motion damper.

Laser and White Board: The purpose of the laser and white board is to amplify and record measurements as the balance is displaced from its equilibrium.  By bouncing a laser beam off of a mirror that is attached to the balance to a screen with incremental markings, it was possible to quantify the displacement of the balance (Hecht, 2001).  This is what is called an optical lever (ibid.).  The angle between the incident and reflected laser beam is 2x the angle that the balance is displaced (ibid.).  To get more accurate results in angle measurement, it is suggested to measure the change in angle from one direction to the other and dividing this value in half.  Ultimately, this makes ( one quarter of the change in the angle between the incident and reflected laser beam.  It would have been ideal to have a screen that is curved so that displacement angles could be accurately measured, but for demonstration purposes the white board worked fine.  Since the amount that the balance was displaced by was small, the angle can be approximated.

Operation: Temporary wall partitions can be set up around the experiment to act as baffles for wind currents that exist in the room.  It is extremely important to do this in a room that is not drafty. It is also important to limit personal movement as this will cause wind currents that will disturb the balance.  Building and encasement in plexi-glass is ideal, but greatly increases the cost of the apparatus.

The apparatus must start off in a neutral position. The sand buckets were kept at ninety degrees from the balance.  This ensured that there was equal torque in both directions so this cancelled their effect on the balance.  It takes several minutes for the balance to settle and stop swaying back and forth from air currents or from touching it.  Then, the neutral position of the laser on the white board screen was noted.

Insert Figure 5: Neutral Position Balance

Next, the buckets of sand were swiveled, slowly and carefully, into position until they were close to the hanging bottles of water.  The exact distance to place the buckets was difficult to determine and took some trial and error, but a distance of a two inches made and appropriate start.  It is undesirable to allow the hanging masses to touch the larger masses at any time.  The idea is to balance torque and gravitational force.  On the order of several minutes, the balance was displaced from neutral position, continued to swing back and forth, and finally settled on a displaced position.  The period of oscillation and settling position were then recorded.

Insert Figure 6: Displaced Balance

Calculations:  Although this apparatus is mainly for demonstration purposes, the following formulas and derivations, according to Carlson (1989), may be used to calculate the value of G.  The formula for gravitational force is:

Solving this for G yields:

The only quantity that can not be measured directly is the gravitational force F.  This can be derived from the torque on the balance:

The force is doubled because there are two sets of forces on two sets of masses.  R is the distance from the axis of rotation to the hanging mass.  Solving for F gives:

Torque can also be found by:

It should be noted that ( is the angle that the balance is displaced in one direction from equilibrium.  The torsional constant is ( which must also be determined indirectly.  Rearranging the formula for a torsional pendulum, the outcome is:

Here, T is the period of swings of the balance and I is the moment of inertia.  The moment of inertia for the balance can be expressed as:

Finally, the calculations can be worked back to find the gravitational force to solve for G.  For example, let:

M1 = 0.50kg (hanging mass)

M2 = 18kg (large stationary mass)

r = 0.13m (distance between M1 and M2 after deflection)

R = 0.50m (radius of balance)

L = 1.00m (length of meter stick)

T = 800s (period)

Substitute values:

Find the torsional constant using:

Now, the torque of the balance can be calculated:

Solving for force gives:

Finally, the calculation of G:

All calculations are from Carlson (1989).

Pitfalls:   This balance is very sensitive.  Even in a room that has the door closed, drafts that come in from under the door, through vents, or even from a person moving in the room will have noticeable effects on the balance.  The wall partition, as seen in the pictures, is essential in baffling the wind currents in the room.  If a partition is not available an old sheet or blanket can be a cheap substitute.  It is not advisable to put anything around the door as this hinders exiting in the event of an emergency.  If you are to remain in the room while the experiment is going, you must remain completely motionless and even breathe lightly.  Performing the experiment with a full class in the room is a near impossibility.  If the experiment is set up near a window and the classroom is on the first floor, teaching from the outside is a good solution.

Ones proximity to the experiment can affect it, also. For the balance to function correctly, an experimenter must keep over a foot of distance between the experiment and their own body.

Another problem concerning the design is the placement of the mirror.  The mirror must be attached at the center of the meter stick.  The constant bombardment of a high intensity laser beam can cause the balance to displace. Much like the vanes in a radiometer, if the mirror is fastened anywhere other than the rotating axis of the balance, the slight heating of the mirror causes the balance to turn.  This could be the best example of the sensitivity of the experiment.

Finding the most appropriate medium to get the desired torsion can be difficult, but experiments call for wire or string.  Since this experiment is hung from a tall ceiling, wire or string would not be suitable for it would allow the balance to oscillate too much.  Two strips of videotape are used instead.  The videotape supplies the added torque that is needed.  Hence the material is used depends heavily on the height from which the balance is hung.

One problem the experiment does not compensate for is electrostatic forces that arise from charge build up on any of the masses.  These forces can easily become greater than that of gravitational forces and thus destroy any hopes of acquiring valuable data.  Some suggestions for correcting for this are: Only run the experiment on days of high humidity, paint the entire apparatus with a conductive paint, use more conductive materials when constructing the experiment, and ground the entire apparatus.  Plastic has a propensity for accumulating large amounts of static charge and it might be a large improvement to use cardboard boxes of sand instead of the plastic buckets.

Conclusion:

When the objective is to show what cannot be directly observed and cost is an issue, this apparatus is very useful.  It has the advantage of being affordable, available and extraordinarily demonstrative of gravitational force.  Students are far more apt to understand if they can see the effect first hand.  Students have been awed by this demonstration as they watch it happen before their eyes.  Some have been noted as saying, “I would not have believed it if I had not seen it.” Being able to attract the hanging masses by my own body mass is perhaps the most starling experience I’ve ever had with gravity.

Since it does take a while for the desired effect to occur, a lecture while the experiment was running, helped to keep their minds from wandering and provided some background information for a fuller understanding.  One must be mindful of this particular design’s limitations.  Nothing was done to reduce the likelihood of electrical forces from contributing to the results.   Moreover, it was nearly impossible to calm all of the air currents in the room which interfere with any hopes of calculating G.  This is not a precision tool, but a powerful one.

The experiment can be performed in real time, recorded and played back, or both. Operation is simple and easy.   Though the set up is sensitive, when done carefully, desired results can be obtained.

One might also want to look at some video taken of a similar experiment done on the web site titled “Bending Spacetime in the Basement”:  http://www.fourmilab.ch/gravitation/foobar/

References:

Block, B., Moore, R. D., Ross, P. (1965). Do-It-Yourself Cavendish Balance. American Journal of Physics, 33(11), 693-695.

Carlson, J. E. (1989). Cavendish Experiment. The Physics Teacher, 27(7), 562-564.

Clotfelter B. E. (1987). The Cavendish experiment as Cavendish knew it. American Journal of Physics, 55(3), 210-213.

Crandall, R. E. (1983). Electronic Cavendish device. American Journal of Physics, 51(4), 367-368.

Hecht, E. (2001). Optics (4th ed.). New York: Addison-Wesley.

Karim, M., Toohey W. J. (1986). Compensated Cavendish balance. American Journal of Physics, 54(11), 1043-1045.

Knight, R. D. (1997). Physics: A Contemporary Perspective (Preliminary ed. Vol. 1). New York: Addison-Wesley.

McCormmach, R., Jungnickel, C. (1996). Cavendish. American Philosophical Society, 335–344.

Meissner, H. (1956). Demonstration of Gravitational Attraction with the Cavendish Balance. American Journal of Physics, 25(9), 639-640.

Rouse, A.G. (1958). Cavendish Balance. American Journal of Physics, 26(7), 503-504.

Thorpe, E. (1921). The Scientific Papers of the Honourable Henry Cavendish, London: Cambridge University Press.